The Study for Influencing Factors of Urban Rainwater Catchment System Capacity

S.C. Chu, C.H. Liaw, W.L. Huang, S.K. Hsu, Y.L. Tsai, J.J. Kuo

Department of River and Harbor Engineering

National Taiwan Ocean University

Keelung, Taiwan 202

E-mail: scchu@ntou66.ntou.edu.tw

## Abstract

This study initially examines the different water demand, catchment area and storage capacity. The water input is simulated using several rainfall record intervals, and the Critical Period Technique. Sensitivity analysis is conducted on the variables affecting the system that include catchment area, duration of rainfall records and water demand. The relationship between water release, storage capacity and rooftop catchment area is established under different water demand conditions. This information can be useful and essential for the planners and decision-makers in selecting and optimizing a rainwater catchment system design.

I. Introduction

Rainwater catchment utilization is one kind of alternative water resource. Rainwater catchment systems (RWCS) use roof and road surface to catch rainwater, which can supplement domestic and industrial water supply and reduce urban flooding load (Chu and Fok, 1991). RWCS have been applied broadly abroad. The Thai government completed a big water cistern plan in 1990. Nine million big water cisterns had been built to benefit eighteen million people (Fok, 1990). In densely populated island countries such as Japan, Hong Kong, Singapore, the study on high-rise building and airport RWCS has been performed (Waller, 1989). The Water Resources Bureau of Ministry of Economic Affairs is promoting the application of RWCS and proposing award measures. But water utilization technique is still in a developing stage in our country and there is no design specification. The major goal of the study is to research influencing factors of urban rainwater catchment system capacity.

II. Calculation Method for Catchment Capacity

Urban RWCS include 4 subsystems, such as collecting, distributing, reserving and water treatment units. It is very important for the determination of catchment capacity. In urban RWCS, the roof is used as water collecting area and the reserving unit is the most expensive part of the system. Its capacity not only influences the system costs but also influence the water supply capability of system. This study uses critical period method (Mc Mahon, 1978) to calculate the design capacity.

The critical period includes the mass curve method, residual mass curve

method and simulation analysis. This study uses simulation analysis to analyze the catchment capacity. It uses historical records of input flow rate, substituting into a continuous equation to simulate continuous variation of catchment capacity. In urban RWCS, the water-collecting area is often small and the collecting time is very short. Since the catchment system is closed, the evaporation and other loss can be neglected, and the continuous equation becomes as follows:

Zt+1 = Zt + Qt - Dt												(1)

Where, Zt+1 is catchment amount at time t+1; Zt is catchment amount at time t; Qt is input flow rate at time t; Dt is water amount discharged at time t.

III. Introduction to Water Intake Model

This study uses two kinds of water intake methods to simulate water intake at the actual operation of system. One is the yield after spillage (YAS) model; the other is the yield before spillage (YBS) model.

The operation rule of YAS model can be shown as follows:

Yt = Min (Dt, St)			 									(2)

St+1 = Min (St+Qt, C)-Yt											(3)

Where, St+1, St is catchment amount at time t+1, t, respectively; Yt is discharge flow rate at time t; Qt and Dt is inflow rate and water demand amount at time t, respectively; C is catchment capacity.

The operation rule of YBS model can be shown as follows:

Yt = Min (Dt, St)			 										(4)

St+1 = Min (St+Qt-Yt, C)		 										(5)

In the actual operation, the water intake and spilling can occur simultaneously. So, YAS model and YBS model can not represent the actual situation. This paper will discuss their influence on water supply and their limitations.

IV. Analysis and Discussion

In order to evaluate the system design, two different factors are used to compare the results. One is reliability (Re) in which water supply is greater than or equal to water demands and considers successful times of water supply. The other one is the ratio of water supply and actual water demand (water supply ratio, Rv) considering water supply based on volume. Subsequently the influence of these two factors will be discussed in detail. Keelung Station's (1) rainfall data of 94 years are used for simulation, and the water supply target is the domestic toilet. The assumption amount is 0.041808m3 per person per day for toilet (Water Resources Bureau, 1996).

1.The influence of different water intake method on water supply of systems

The influence of different water intake method has a great influence on system reliability. From the simulation results, the Re of YAS model is obviously smaller and can be easily understood from the water intake process. Besides, the simulation result, system design capacity shall be larger than 5m3 for higher water demand (5 persons), for system to supply water. The home being the major water supply target in the study and since the design capacity of its RWCS is small, the phenomenon discovered is very important. We have to do further study the suitability of the YAS model.

The results of the suitability of the YAS model are displayed in Figure 1, which shows only if demand/capacity is greater than 0.5. Re approaches zero quickly under both settings. The YBS model does not show this phenomenon. From the point of view of RV, this condition doesn't occur in the YAS model, because water supply ratio is considered by “volume”.

Figure 1 The Demand/Capacity Reliable Curve under Different

Yield Model (Area=100m3, C=0.85)

The above result is an important finding. Because by designing large reservoirs, the water demand is seldom greater than a half its capacity, therefore reliability will rarely approach zero quickly. This shall be taken into consideration when designing small water supply system such as urban RWCS. Because the system often has small capacity, the water demand is often greater than half its capacity. While Rv is better than Re in each aspect and meets the actual situation, it is recommended that the YAS model shall not be adopted for designing RWCS. Therefore the YBS model and its Rv are used for calculation and discussion.

2. The influence of water intake period on system

Generally speaking, one day and ten days are most often used for intake period. One day, 3 days, 5 days and 7 days are used as intake period to realize the influence on water supply ratio. Figure 2 shows Rv curve for different periods when less than six people are drawing on the water supply. It shows that the daily period has the highest Rv, meeting the actual water consumption situation. When the period is increasing, Rv is decreasing. And when the catchment capacity is increasing, the difference is also decreasing. Though longer period is advantageous to simplify calculation, different period may influence Rv at the same capacity and water demand amount, and it is more significant for a smaller catchment capacity. When actual water intake data can not be obtained, the assumption of the daily period meets the actual situation better.

Figure 2 The Storage Capacity - Water Supply Curve for 5 Persons with

Different Time Interval (Area=100m3, C=0.85)

3. The influence of data length on system

Rainfall data length influences the accuracy of water supply directly. From a statistical point of view, more samples will show the feature of the origin body. Less data can not represent the whole water supply situation and an unsteady simulating result can occur.

The result for data length analysis is shown in Figure 3. The calculation period is one day and catchment capacity is 5m3. When data length is very short, the difference between maximum value and minimum value of Rv is very large, showing that the simulated result is very unsteady. When data length is increasing, the system is approaching a steady state. Under 90% reliability, seventy years for data length can get steady state. Rainfall data of Keelung area is used for simulation, thus it is recommended to use 50 years data length at least for the design of RWCS in this area. Other areas shall perform further comparison.

Figure 3 The Change of Water Supply Rate under Different Rainfall Record

Length at Different Confidence Interval (Demand = 0.250848m3/day,

Area=100m2, Storage Capacity=5m3, C=0.85)

4. The influence of water use type on water supply of system

The study used daily average water demand to substitute daily water demand in previous calculation. But in fact, from related statistical data (Taiwan Water Supply Company, 1995); Water Resources Bureau, Ministry of Economic Affairs, 1995), it shows monthly variation range of common living water assumption is around 30% of average water consumption. So, this section will analyze the influence of water demand variation on water supply ratio of system. Due to the limitation on getting actual data, the study assumes the variation range of daily water demand is maintained around 30% of daily average water demand. By calling a random series with average value, which is equal to 0 and standard deviation, which is equal to 1, to get a new daily water demand series through daily average water demand pluses or minuses 5% random number, 10% random number, 20% random number and 30% random number, to discuss the influence of daily water demand variation on water supply ratio. From this calculation, 100 sets of daily water demand series of 95 years are derived, and the absolute error of water supply ratio is less than 1%, in spite of daily average water demand, water cistern volume and water collecting area. When an urban RWCS is simulated, daily average demand can be used to substitute daily water demand series.

5. Creating relationship curve for different water collecting area-catchment capacity-water supply ratio

Urban RWCS have infinite sets of different (water collecting area, catchment capacity) combinations. Figure 4 shows water collecting area catchment capacity-water supply ratio curve for five persons supplied at Keelung Station (1).

Figure 4 The Catchment Area - Storage Capacity - Water Supply Rate

Curve for Keelung (1) Station (Demand=0.20904m3/day, C=0.85)

Figure 4 shows the curve moves to the right upper side at increased water supply ratio. This curve supplies many sets of different water collecting areas and catchment capacities. The Engineer-designer can choose a set for the setup scale of RWCS by considering actual situation. It is not feasible for nearly vertical curve at left upper side and nearly horizontal curve at right lower side. If water demand is fixed, increase (decrease) water collecting area and decrease (increase) catchment capacity will have the same water supply ratio. If water-collecting area is decreased and the same water supply ratio wants to be maintained, the catchment capacity will be increased in order that the slope of curve approaches zero. It means the same water supply ratio can only be maintained at very large catchment capacity. So, it is not feasible at this area for engineering consideration, and it is the same for an increased water collecting area.

IV. Conclusions and Recommendations

(I)Conclusions

The capacity of RWCS is often small. If YAS model is used for design, water supply reliability will be too low, thus it shall not be adopted for design and planning, and water supply ratio shall be used for the judgement of system water supply capability.

The data of drought years and abundant years shall not be used for water demand data, because extreme weather condition will influence water utilization habit, so it can not reflect actual water utilization condition.

Because the influence of water use type on water supply ratio of RWCS is not significant, in order to simplify simulation process and actual data collecting problem, daily average water demand can be adopted to substitute daily water demand series.

The roof is only used to collect rainwater for RWCS without reserving rainwater, so the setup of RWCS will not increase roof-leaking problem.

(II)Recommendations

The study only analyzes water supply condition and different influencing factors of the system; it does not discuss water quality of rainwater. RWCS can supply water to different targets based on rainwater quality, so water quality in the study area has to be analyzed further. This study does not discuss optimal capacity of system; it can be determined from water supply ratio curve and input/output theory of economics in the future. Rainwater catchment unit of RWCS can be installed near a building or on its roof. If it is installed on the roof, its influence on building structure shall be discussed.

References

Taiwan Water Supply Company, "Statistical Report for Water Consumption Amount in Taiwan, 1995", Taichung, Taiwan, 1996.

Water Resources Planning Committee, Ministry of Economic Affairs, "Statistical Report for Water Consumption Amount of Domestic Water Use in Taiwan, 1995", Taipei, Taiwan, 1996.

Fok, Y.S., "Other Uses of Rainwater Catchment Systems", Graduate Class Notes for Rainwater Catchment Systems, Department of River and Harbor Engineering, National Taiwan Ocean University, pp. 13-14, 1990.

Chu, S.C., and Fok, Y.S., “Multi-Objective Rain Water Cistern Systems”, Proceedings of the 5th International Conference on Rain Water Cistern Systems, Keelung, Taiwan, pp.448-455, 1991.

McMAHON, T.A. and Mein, R.G., Reservoir Capacity and Yield, Elsevier Scientific Publishing Company, pp.6-68, 1978.

Waller, D.H., “ Rainwater as an Alternative Source in Developing and Developed Countries”, Water International. No.14, pp.27-36, 1989.